## Master_Dataset
Project ID | Project name | Source | TO | Region | Project type | Voltage | New / existing | Description | Earliest delivery | MW / capacity | Connection-driven? | Beyond 2030 code | TWR scheme/project | Beyond 2030 recommendation | CATO potential | CATO evidence | Data confidence | CATO opportunity status | Beyond 2030 relationship
B2030-BUUP | Burwell Main substation upgrade | Beyond 2030 – Selected | NGET | Central England | Wider |  | Existing network upgrade | Burwell Main substation upgrade | 2029 |  |  | BUUP |  | Proceed (Maintain) |  |  | Known
B2030-FSU1 | Harker to Stella West upgrade from 275kV to 400kV | Beyond 2030 – Selected | NGET | North West; North East and Yorkshire | Wider |  | New onshore circuit | Harker to Stella West upgrade from 275kV to 400kV | 2035 |  |  | FSU1 |  | Proceed (Maintain) |  |  | Known
B2030-IMHW | Hotwire and substation cable uprate of Iron Acton to Melksham 275kV double circuit | Beyond 2030 – Selected | NGET | South West | Wider |  | Existing network upgrade | Hotwire and substation cable uprate of Iron Acton to Melksham 275kV double circuit | 2033 |  |  | IMHW |  | Proceed (Critical) |  |  | Known
B2030-JTHW | Hotwire route between Thurcroft and West Melton | Beyond 2030 – Selected | NGET | North East and Yorkshire | Wider |  | Existing network upgrade | Hotwire route between Thurcroft and West Melton | 2029 |  |  | JTHW |  | Hold |  |  | Known
B2030-TDP4 | Installation of Power Flow control devices along Drax to Thornton 400kV double circuit | Beyond 2030 – Selected | NGET | North East and Yorkshire | Wider |  | Existing network upgrade | Installation of Power Flow control devices along Drax to Thornton 400kV double circuit | 2033 |  |  | TDP4 |  | Proceed (Critical) |  |  | Known
B2030-BFPC | Installation of Power Flow control devices on Bramley to Fleet 400kV double circuit | Beyond 2030 – Selected | NGET | South East | Wider |  | Existing network upgrade | Installation of Power Flow control devices on Bramley to Fleet 400kV double circuit | 2034 |  |  | BFPC |  | Proceed (Maintain) |  |  | Known
B2030-BRQB | Installation of Power Flow control devices on new 400kV circuit across East Midlands | Beyond 2030 – Selected | NGET | East Midlands | Wider |  | New infrastructure | Installation of Power Flow control devices on new 400kV circuit across East Midlands | 2036 |  |  | BRQB |  | Proceed (Critical) |  |  | Known
B2030-BWQB | Installation of Power Flow control devices onto Burwell to Walpole 400kV double circuit | Beyond 2030 – Selected | NGET | Central England | Wider |  | New infrastructure | Installation of Power Flow control devices onto Burwell to Walpole 400kV double circuit | 2033 |  |  | BWQB |  | Proceed (Critical) |  |  | Known
B2030-MRU3 | Mersey Ring Upgrade Stage 1: 275kV to 400kV upgrade retaining existing tower | Beyond 2030 – Selected | NGET | North West | Wider |  | Existing network upgrade | Mersey Ring Upgrade Stage 1: 275kV to 400kV upgrade retaining existing tower | 2036 |  |  | MRU3 |  | Proceed (Maintain) |  |  | Known
B2030-MRU2 | Mersey Ring Upgrade Stage 2: 275kV to 400kV upgrade retaining existing tower | Beyond 2030 – Selected | NGET | North West | Wider |  | Existing network upgrade | Mersey Ring Upgrade Stage 2: 275kV to 400kV upgrade retaining existing tower | 2039 |  |  | MRU2 |  | Proceed (Maintain) |  |  | Known
B2030-MWN1 | New 400kV circuit between West Midlands and South West England | Beyond 2030 – Selected | NGET | Wales; West Midlands | Wider |  | New onshore circuit | New 400kV circuit between West Midlands and South West England | 2037 |  |  | MWN1 |  | Proceed (Maintain) |  |  | Known
B2030-CLN4 | New 400kV double circuit from North West England to Lancashire, following the coast | Beyond 2030 – Selected | NGET | North West | Wider |  | New onshore circuit | New 400kV double circuit from North West England to Lancashire, following the coast | 2038 |  |  | CLN4 |  | Proceed (Critical) |  |  | Known
B2030-LRN7 | New 400kV double circuit from South Lincolnshire to East Leicestershire with two new substations. Reconductor one circuit of Cottam to Grendon 400kV route between new substation in East Leicestershire and Grendon substation | Beyond 2030 – Selected | NGET | East Midlands | Wider |  | New onshore circuit | New 400kV double circuit from South Lincolnshire to East Leicestershire with two new substations. Reconductor one circuit of Cottam to Grendon 400kV route between new substation in East Leicestershire and Grendon substation | 2033 |  |  | LRN7 |  | Proceed (Maintain) |  |  | Known
B2030-ESC3 | New 400kV substation and power flow control devices within West Yorkshire region | Beyond 2030 – Selected | NGET | North East and Yorkshire | Wider |  | New infrastructure | New 400kV substation and power flow control devices within West Yorkshire region | 2033 |  |  | ESC3 |  | Hold |  |  | Known
B2030-SENS | New 400kV substation within South West region | Beyond 2030 – Selected | NGET | South West | Wider |  | New infrastructure | New 400kV substation within South West region | 2038 |  |  | SENS |  | Proceed (Critical) |  |  | Known
B2030-WMU3 | New 400kV substation within West Midlands region and associated circuit reconfigurations | Beyond 2030 – Selected | NGET | East Midlands | Wider |  | New onshore circuit | New 400kV substation within West Midlands region and associated circuit reconfigurations | 2038 |  |  | WMU3 |  | Proceed (Critical) |  |  | Known
B2030-TWNC | New Wymondley to Waltham Cross 400kV double circuit and Waltham Cross to Warley 275kV to 400kV upgrades | Beyond 2030 – Selected | NGET | Central England | Wider |  | New onshore circuit | New Wymondley to Waltham Cross 400kV double circuit and Waltham Cross to Warley 275kV to 400kV upgrades | 2036 |  |  | TWNC |  | Proceed (Maintain) |  |  | Known
B2030-UWNC | New double circuit from North Wales to West Midlands | Beyond 2030 – Selected | NGET | Wales; West Midlands | Wider |  | New onshore circuit | New double circuit from North Wales to West Midlands | 2038 |  |  | UWNC |  | Proceed (Critical) |  |  | Known
B2030-LFQB | New power flow control device in West Midlands | Beyond 2030 – Selected | NGET | West Midlands | Wider |  | New infrastructure | New power flow control device in West Midlands | 2036 |  |  | LFQB |  | Proceed (Maintain) |  |  | Known
B2030-EGOS | Operational tripping scheme on the East Coast | Beyond 2030 – Selected | NGET | East | Wider |  | Existing network upgrade | Operational tripping scheme on the East Coast | 2032 |  |  | EGOS |  | Proceed (Maintain) |  |  | Known
B2030-ATRE | Reconductor Alverdiscott to Taunton 1 400kV circuit | Beyond 2030 – Selected | NGET | South West | Wider |  | Existing network upgrade | Reconductor Alverdiscott to Taunton 1 400kV circuit | 2031 |  |  | ATRE |  | Proceed (Maintain) |  |  | Known
B2030-FWR1 | Reconductor Feckenham to Walham 1 400kV circuit | Beyond 2030 – Selected | NGET | West Midlands | Wider |  | Existing network upgrade | Reconductor Feckenham to Walham 1 400kV circuit | 2032 |  |  | FWR1 |  | Proceed (Maintain) |  |  | Known
B2030-SGRE | Reconductor Grendon to Sundon 400kV double circuit | Beyond 2030 – Selected | NGET | Central England | Wider |  | Existing network upgrade | Reconductor Grendon to Sundon 400kV double circuit | 2030 |  |  | SGRE |  | Proceed (Maintain) |  |  | Known
B2030-LTR1 | Reconductor Lackenby to Thornton 400kV double circuit | Beyond 2030 – Selected | NGET | North East and Yorkshire | Wider |  | Existing network upgrade | Reconductor Lackenby to Thornton 400kV double circuit | 2034 |  |  | LTR1 |  | Proceed (Critical) |  |  | Known
B2030-NOR7 | Reconductor Norton to Osbaldwick 400kV double circuit | Beyond 2030 – Selected | NGET | North East and Yorkshire | Wider |  | Existing network upgrade | Reconductor Norton to Osbaldwick 400kV double circuit | 2032 |  |  | NOR7 |  | Proceed (Critical) |  |  | Known
B2030-SNRE | Reconductor Spennymoor to Norton 400kV double circuit | Beyond 2030 – Selected | NGET | North East and Yorkshire | Wider |  | Existing network upgrade | Reconductor Spennymoor to Norton 400kV double circuit | 2032 |  |  | SNRE |  | Proceed (Critical) |  |  | Known
B2030-SPRE | Reconductor Spennymoor to Stella West 400kV double circuit | Beyond 2030 – Selected | NGET | North East and Yorkshire | Wider |  | Existing network upgrade | Reconductor Spennymoor to Stella West 400kV double circuit | 2032 |  |  | SPRE |  | Proceed (Critical) |  |  | Known
B2030-TMC2 | Reconductor Thorpe Marsh leg of Drax to Keadby to Thorpe Marsh 400kV circuit and Keadby 400kV substation running arrangement update | Beyond 2030 – Selected | NGET | North East and Yorkshire | Wider |  | Existing network upgrade | Reconductor Thorpe Marsh leg of Drax to Keadby to Thorpe Marsh 400kV circuit and Keadby 400kV substation running arrangement update | 2031 |  |  | TMC2 |  | Hold |  |  | Known
B2030-NES1 | Series compensation strategy 1 across the North of England transmission network | Beyond 2030 – Selected | NGET | North West | Wider |  | Existing network upgrade | Series compensation strategy 1 across the North of England transmission network | 2034 |  |  | NES1 |  | Hold |  |  | Known
B2030-TMCF | Thorpe Marsh substation reconfiguration | Beyond 2030 – Selected | NGET | North East and Yorkshire | Wider |  | Existing network upgrade | Thorpe Marsh substation reconfiguration | 2035 |  |  | TMCF |  | Proceed (Critical) |  |  | Known
B2030-LQUP | Upgrade of the exsiting Quad Boosters to higher ratings at Legacy 400kV substation | Beyond 2030 – Selected | NGET | Wales | Wider |  | Existing network upgrade | Upgrade of the exsiting Quad Boosters to higher ratings at Legacy 400kV substation | 2036 |  |  | LQUP |  | Proceed (Critical) |  |  | Known
B2030-CLCU | Uprate cable section of Chilling to Lovedean 400kV circuit | Beyond 2030 – Selected | NGET | South East | Wider |  | Existing network upgrade | Uprate cable section of Chilling to Lovedean 400kV circuit | 2029 |  |  | CLCU |  | Proceed (Maintain) |  |  | Known
B2030-RWUP | Uprate cable section of Ratcliffe On Soar to Willington East 2 400kV circuit | Beyond 2030 – Selected | NGET | East Midlands | Wider |  | Existing network upgrade | Uprate cable section of Ratcliffe On Soar to Willington East 2 400kV circuit | 2033 |  |  | RWUP |  | Proceed (Critical) |  |  | Known
B2030-WCD4 | New 2GW offshore HVDC link between Ayrshire and North Wales | Beyond 2030 – Selected | NGET, SPT | Scotland | Wider |  | New offshore circuit | New 2GW offshore HVDC link between Ayrshire and North Wales | 2038 |  |  | WCD4 |  | Proceed (Critical) |  |  | Known
B2030-WCN2 | New 400kV onshore reinforcement from Ayrshire to North West of England | Beyond 2030 – Selected | NGET, SPT | Scotland; North West | Wider |  | New onshore circuit | New 400kV onshore reinforcement from Ayrshire to North West of England | 2036 |  |  | WCN2 |  | Proceed (Maintain) |  |  | Known
B2030-CMN4 | New double circuit from the South East of Scotland to the North West of England (Substation located North of Carlisle) | Beyond 2030 – Selected | NGET, SPT | Scotland | Wider |  | New onshore circuit | New double circuit from the South East of Scotland to the North West of England (Substation located North of Carlisle) | 2034 |  |  | CMN4 |  | Proceed (Maintain) |  |  | Known
B2030-EGL5 | New offshore HVDC link between North East Scotland and Lincolnshire | Beyond 2030 – Selected | NGET, SSENT | Scotland | Wider |  | New offshore circuit | New offshore HVDC link between North East Scotland and Lincolnshire | 2035 |  |  | EGL5 |  | Proceed (Maintain) |  |  | Known
B2030-EGL6 | New offshore HVDC link between North East Scotland and the South East of England | Beyond 2030 – Selected | NGET, SSENT | Scotland; South East | Wider |  | New offshore circuit | New offshore HVDC link between North East Scotland and the South East of England | 2041 |  |  | EGL6 |  | Proceed (Maintain) |  |  | Known
B2030-CVUP | Clyde's Mill to Strathaven 400kV Reinforcement | Beyond 2030 – Selected | SPT | Scotland | Wider |  | Existing network upgrade | Clyde's Mill to Strathaven 400kV Reinforcement | 2032 |  |  | CVUP |  | Proceed (Maintain) |  |  | Known
B2030-HGNC | Harburn to Gala North 400kV Reinforcement | Beyond 2030 – Selected | SPT | Scotland | Wider |  | New onshore circuit | Harburn to Gala North 400kV Reinforcement | 2035 |  |  | HGNC |  | Proceed (Critical) |  |  | Known
B2030-LCU2 | Kincardine North - Harburn - Currie 400kV Reinforcement | Beyond 2030 – Selected | SPT | Scotland | Wider |  | Existing network upgrade | Kincardine North - Harburn - Currie 400kV Reinforcement | 2035 |  |  | LCU2 |  | Proceed (Critical) |  |  | Known
B2030-DBRE | Re-conductor existing circuits between Dounreay, Loch Buidhe, and Beauly | Beyond 2030 – Selected | SSENT | Scotland | Wider |  | Existing network upgrade | Re-conductor existing circuits between Dounreay, Loch Buidhe, and Beauly | 2035 |  |  | DBRE |  | Hold |  |  | Known
B2030-NHNC | Combination of new and replacement 400kV double circuit from North East Scotland to central belt Scotland | Beyond 2030 – Selected | SSENT, SPT | Scotland | Wider |  | New onshore circuit | Combination of new and replacement 400kV double circuit from North East Scotland to central belt Scotland | 2038 |  |  | NHNC |  | Proceed (Critical) |  |  | Known
TWR-021071-021073 | 021071-021073 | TWR | NGET |  |  |  |  | 2.7 km new 400kV double circuit; strategic-scale voltage but short/local loop; separability uncertain |  | 900 | Yes |  | 021071-021073 |  | Potential CATO - evidence required | CATO potential - verify whether part of a larger strategic package | C | Potential CATO - evidence required | No direct duplicate identified
TWR-100944-201882 | 100944-201882 | TWR | NGET |  |  |  |  | New 400kV substation with 6 bays; multi-customer; likely material |  | 1737.5 | Yes |  | 100944-201882 |  | Potential CATO - evidence required | CATO potential - test separability and incumbent route | C | Potential CATO - evidence required | No direct duplicate identified
TWR-101093-202181 | 101093-202181 | TWR | NGET |  |  |  |  | New 400kV double circuit route + associated substations; 2 projects; 775MW TEC |  | 775 | Yes |  | 101093-202181 |  | Strong CATO potential | Strong candidate subject to commitment/maturity check | A | Strong CATO potential | No direct duplicate identified
TWR-101333-202653 | 101333-202653 | TWR | NGET |  |  |  |  | New 400kV substation + turn-in of existing 400kV circuit; 3 projects; 695MW TEC |  | 695 | Yes |  | 101333-202653 |  | Strong CATO potential | Strong candidate subject to separability/route check | A | Strong CATO potential | No direct duplicate identified
TWR-101387-202717 | 101387-202717 | TWR | NGET |  |  |  |  | Large 400kV substation reconfiguration; 4 projects; 1.58GW TEC |  | 1580 | Yes |  | 101387-202717 |  | Potential CATO - evidence required | Potential; assess whether package can be independently delivered | C | Potential CATO - evidence required | No direct duplicate identified
TWR-101388-202719 | 101388-202719 | TWR | NGET |  |  |  |  | Large 400kV substation reconfiguration; 8 projects; 8.12GW TEC |  | 8116 | Yes |  | 101388-202719 |  | Potential CATO - evidence required | Potential; high value signal but separability needs evidence | C | Potential CATO - evidence required | No direct duplicate identified
TWR-101719-203428 | 101719-203428 | TWR | NGET |  |  |  |  | 400kV circuit uprating; 2 projects; 680MW TEC |  | 680 | Yes |  | 101719-203428 |  | Potential CATO - evidence required | Potential; benchmark against reconductoring/uprating Beyond 2030 options | C | Potential CATO - evidence required | Likely duplicate / embedded in Beyond 2030
TWR-101883-203859 | 101883-203859 | TWR | NGET |  |  |  |  | 400kV cable uprating; 3 projects; 1.2GW TEC |  | 1200 | Yes |  | 101883-203859 |  | Potential CATO - evidence required | Potential but lower confidence on CATO separability | C | Potential CATO - evidence required | No direct duplicate identified
TWR-102080-204268 | 102080-204268 | TWR | NGET |  |  |  |  | Major 275kV substation replant; 6 TWR connections; 2.265GW TEC |  | 2265 | Yes |  | 102080-204268 |  | Potential CATO - evidence required | Potential; investigate whether part of broader strategic package | C | Potential CATO - evidence required | No direct duplicate identified
TWR-Mid-Wales-400kV-reinforcement-package | Mid Wales 400kV reinforcement package | TWR | NGET |  |  |  |  | New 400kV + 132kV substations, 4x240MVA transformers and reactive compensation; 312MW TEC |  | 312 | Yes |  | 101032-202058/ 101032-202059/ 101032-202069 ¦ 101032-202063 |  | Potential CATO - evidence required | Potential; validate strategic need beyond current connections | B | Potential CATO - evidence required | No direct duplicate identified
TWR-shet-ri-147 | shet-ri-147 | TWR | NGET |  |  |  |  | New 400kV substation; 1.5GW TEC; offshore wind |  | 1500 | Yes |  | SHET-RI-147 |  | Strong CATO potential | Strong candidate subject to strategic/connection separation | A | Strong CATO potential | No direct duplicate identified
TWR-102675-205361 | 102675-205361 | TWR | No match |  |  |  |  | New 400kV double-busbar substation; no current TEC match |  |  | Yes |  | 102675-205361 |  | Potential CATO - evidence required | Potential; needs strategic linkage and maturity evidence | C | Potential CATO - evidence required | No direct duplicate identified
TWR-Fort-Augustus-2-Beauly-400kV-reinforcement-package | Fort Augustus 2 / Beauly 400kV reinforcement package | TWR | SHET |  |  |  |  | New 400kV substation + 400kV OHL; ~3.09GW TEC across components |  | 1594 | Yes |  | SHET-RI-211 ¦ SHET-RI-212 |  | Strong CATO potential | Strong candidate; likely one integrated opportunity package | A | Strong CATO potential | Potentially related / needs reconciliation
TWR-shet-ri-180 | shet-ri-180 | TWR | SHET |  |  |  |  | New Peterhead 400kV substation/busbar; 4 projects; 1.71GW TEC |  | 1710 | Yes |  | SHET-RI-180 |  | Strong CATO potential | Strong candidate subject to separability | A | Strong CATO potential | No direct duplicate identified
TWR-shet-ri-205 | shet-ri-205 | TWR | SHET |  |  |  |  | New Brechin 275kV double-busbar substation; 6 projects; 150MW TEC |  | 149.9 | Yes |  | SHET-RI-205 |  | Strong CATO potential | Strong physical candidate; strategic need/scale economics need validation | A | Strong CATO potential | No direct duplicate identified
TWR-Fort-Augustus-Harburn-400kV-reinforcement-package | Fort Augustus / Harburn 400kV reinforcement package | TWR | SHET; SPT |  |  |  |  | New 400kV substation + new 400kV reinforcement package; ~1.74GW TEC; multiple projects |  | 1987.9 | Yes |  | SPT-RI-2943 ¦ SPT-RI-3002 |  | Strong CATO potential | Strong candidate subject to packaging/ownership boundary | A | Strong CATO potential | Potentially related / needs reconciliation
TWR-shet-ri-185 | shet-ri-185 | TWR | SHET; SPT |  |  |  |  | New Kintore–Tealing 400kV double-circuit OHL; 4 projects; 1.10GW TEC |  | 1100.29 | Yes |  | SHET-RI-185 |  | Strong CATO potential | Strong candidate | A | Strong CATO potential | No direct duplicate identified
TWR-spt-ri-1795 | spt-ri-1795 | TWR | SHET; SPT |  |  |  |  | New 400kV double circuit across Scotland–England boundary; 3 projects; 2.82GW TEC |  | 2820 | Yes |  | SPT-RI-1795 |  | Strong CATO potential | Strong candidate | A | Strong CATO potential | No direct duplicate identified
TWR-spt-ri-2862-ss | spt-ri-2862 ss | TWR | SPT |  |  |  |  | New Dumfries North 400/132kV substation; 5 projects; 578MW TEC |  | 578 | Yes |  | SPT-RI-2862 SS |  | Potential CATO - evidence required | Potential; test strategic/system role and separability | C | Potential CATO - evidence required | No direct duplicate identified
TWR-spt-ri-304 | spt-ri-304 | TWR | SPT |  |  |  |  | ~185km new 400kV double circuit Torness/Branxton–Lackenby; 1.5GW TEC |  | 1500 | Yes |  | SPT-RI-304 |  | Strong CATO potential | Strong candidate | A | Strong CATO potential | No direct duplicate identified
TWR-spt-ri-3452-mark-hill-north-new-cumnock-north-400kv-circuit | spt-ri-3452 - mark hill north - new cumnock north 400kv circuit | TWR | SPT |  |  |  |  | New 400kV double circuit; current TEC ~99MW |  | 99 | Yes |  | SPT-RI-3452 - Mark Hill North - New Cumnock North 400kV Circuit |  | Potential CATO - evidence required | Potential; validate system need and whether it is part of a wider strategic package | B | Potential CATO - evidence required | No direct duplicate identified
B2030-CETI | Circuit turn in and network reconfiguration within West Yorkshire area | Beyond 2030 – Additional | NGET | North East and Yorkshire | Wider |  | Existing network upgrade | Circuit turn in and network reconfiguration within West Yorkshire area | 2036 |  |  | CETI |  | Stop |  |  | Known
B2030-LGSC | Installation of Power Flow control devices across Northeast Lincolnshire network | Beyond 2030 – Additional | NGET | East Midlands | Wider |  | Existing network upgrade | Installation of Power Flow control devices across Northeast Lincolnshire network | 2037 |  |  | LGSC |  | Stop |  |  | Known
B2030-DTQB | Installation of Power Flow control devices along Drax to Thornton 400kV double circuit | Beyond 2030 – Additional | NGET | North East and Yorkshire | Wider |  | New infrastructure | Installation of Power Flow control devices along Drax to Thornton 400kV double circuit | 2033 |  |  | DTQB |  | Stop |  |  | Known
B2030-TMPC | Installation of Power Flow control devices along Thorpe Marsh to West Melton 1 275kV circuit​ | Beyond 2030 – Additional | NGET | North East and Yorkshire | Wider |  | Existing network upgrade | Installation of Power Flow control devices along Thorpe Marsh to West Melton 1 275kV circuit​ | 2031 |  |  | TMPC |  | Stop |  |  | Known
B2030-CWSC | Installation of Power Flow control devices on Cottam to West Burton 400kV double circuit | Beyond 2030 – Additional | NGET | East Midlands | Wider |  | Existing network upgrade | Installation of Power Flow control devices on Cottam to West Burton 400kV double circuit | 2034 |  |  | CWSC |  | Stop |  |  | Known
B2030-NLSC | Installation of Power Flow control devices on the North Wales to West Midlands new 400kV circuit | Beyond 2030 – Additional | NGET | Wales; West Midlands | Wider |  | Existing network upgrade | Installation of Power Flow control devices on the North Wales to West Midlands new 400kV circuit | 2037 |  |  | NLSC |  | Stop |  |  | Known
B2030-BHSC | Installation of Power Flow control devices on the Yorkshire to East Midland new 400kV circuit | Beyond 2030 – Additional | NGET | East Midlands | Wider |  | Existing network upgrade | Installation of Power Flow control devices on the Yorkshire to East Midland new 400kV circuit | 2034 |  |  | BHSC |  | Stop |  |  | Known
B2030-MRU1 | Mersey Ring Upgrade Stage 1: 275kV to 400kV upgrade with new tower and bigger conductor for future network needs | Beyond 2030 – Additional | NGET | North West | Wider |  | Existing network upgrade | Mersey Ring Upgrade Stage 1: 275kV to 400kV upgrade with new tower and bigger conductor for future network needs | 2037 |  |  | MRU1 |  | Stop |  |  | Known
B2030-HONC | New 400kV circuit between County Durham and North Yorkshire - Stage 2 | Beyond 2030 – Additional | NGET | North East and Yorkshire | Wider |  | New onshore circuit | New 400kV circuit between County Durham and North Yorkshire - Stage 2 | 2039 |  |  | HONC |  | Stop |  |  | Known
B2030-LBNC | New 400kV circuit between East Midlands and East of England | Beyond 2030 – Additional | NGET | East Midlands | Wider |  | New onshore circuit | New 400kV circuit between East Midlands and East of England | 2039 |  |  | LBNC |  | Stop |  |  | Known
B2030-BQNC | New 400kV circuit between West Midlands and South East England | Beyond 2030 – Additional | NGET | West Midlands | Wider |  | New onshore circuit | New 400kV circuit between West Midlands and South East England | 2039 |  |  | BQNC |  | Stop |  |  | Known
B2030-MWNC | New 400kV circuit between West Midlands and South West England via Mid Wales | Beyond 2030 – Additional | NGET | Wales; West Midlands | Wider |  | New onshore circuit | New 400kV circuit between West Midlands and South West England via Mid Wales | 2038 |  |  | MWNC |  | Alternative |  |  | Known
B2030-GBNC | New 400kV circuit between Yorkshire and Humber region | Beyond 2030 – Additional | NGET | North East and Yorkshire | Wider |  | New onshore circuit | New 400kV circuit between Yorkshire and Humber region | 2041 |  |  | GBNC |  | Stop |  |  | Known
B2030-KENC | New 400kV circuit within North Yorkshire | Beyond 2030 – Additional | NGET | North East and Yorkshire | Wider |  | New onshore circuit | New 400kV circuit within North Yorkshire | 2037 |  |  | KENC |  | Stop |  |  | Known
B2030-NBNC | New 400kV circuit within South Yorkshire | Beyond 2030 – Additional | NGET | North East and Yorkshire | Wider |  | New onshore circuit | New 400kV circuit within South Yorkshire | 2038 |  |  | NBNC |  | Stop |  |  | Known
B2030-CLN3 | New 400kV double circuit from North West England to Lancashire, following the coast, crossing Morecambe Bay | Beyond 2030 – Additional | NGET | North West | Wider |  | New onshore circuit | New 400kV double circuit from North West England to Lancashire, following the coast, crossing Morecambe Bay | 2037 |  |  | CLN3 |  | Stop |  |  | Known
B2030-OENC | New 400kV double circuit within North Yorkshire | Beyond 2030 – Additional | NGET | North East and Yorkshire | Wider |  | New onshore circuit | New 400kV double circuit within North Yorkshire | 2038 |  |  | OENC |  | Stop |  |  | Known
B2030-LYN1 | New 400kV route between Lancaster and North Yorkshire | Beyond 2030 – Additional | NGET | North West | Wider |  | New onshore circuit | New 400kV route between Lancaster and North Yorkshire | 2039 |  |  | LYN1 |  | Stop |  |  | Known
B2030-LYN2 | New 400kV route between Lancaster and North Yorkshire with new substations at North Yorkshire | Beyond 2030 – Additional | NGET | North West | Wider |  | New onshore circuit | New 400kV route between Lancaster and North Yorkshire with new substations at North Yorkshire | 2039 |  |  | LYN2 |  | Stop |  |  | Known
B2030-FBN2 | New 400kV route between North East England and North Yorkshire with new substations at Northeast England only | Beyond 2030 – Additional | NGET | North East and Yorkshire | Wider |  | New onshore circuit | New 400kV route between North East England and North Yorkshire with new substations at Northeast England only | 2040 |  |  | FBN2 |  | Stop |  |  | Known
B2030-FBN1 | New 400kV route between North East England and North Yorkshire with new substations at both end | Beyond 2030 – Additional | NGET | North East and Yorkshire | Wider |  | New onshore circuit | New 400kV route between North East England and North Yorkshire with new substations at both end | 2041 |  |  | FBN1 |  | Stop |  |  | Known
B2030-STNS | New 400kV substation within East Midlands region | Beyond 2030 – Additional | NGET | East Midlands | Wider |  | New infrastructure | New 400kV substation within East Midlands region | 2039 |  |  | STNS |  | Stop |  |  | Known
B2030-EWD1 | New East to West ultra high voltage direct current (UHVDC) network utilising AC routes within North England | Beyond 2030 – Additional | NGET | North West | Wider |  | New onshore circuit | New East to West ultra high voltage direct current (UHVDC) network utilising AC routes within North England | 2044 |  |  | EWD1 |  | Stop |  |  | Known
B2030-EWDC | New East to West ultra high voltage direct current (UHVDC) network within North England | Beyond 2030 – Additional | NGET | North East and Yorkshire | Wider |  | New onshore circuit | New East to West ultra high voltage direct current (UHVDC) network within North England | 2044 |  |  | EWDC |  | Stop |  |  | Known
B2030-TWN1 | New Wymondley to Waltham Cross 400 kV double circuit and Waltham Cross to Warley 275 kV to 400 kV upgrades | Beyond 2030 – Additional | NGET | Central England | Wider |  | New onshore circuit | New Wymondley to Waltham Cross 400 kV double circuit and Waltham Cross to Warley 275 kV to 400 kV upgrades | 2036 |  |  | TWN1 |  | Alternative |  |  | Known
B2030-CLN2 | New double circuit between North West England and Lancashire | Beyond 2030 – Additional | NGET | North West | Wider |  | New onshore circuit | New double circuit between North West England and Lancashire | 2040 |  |  | CLN2 |  | Alternative |  |  | Known
B2030-SHNC | New double circuit within West Midlands | Beyond 2030 – Additional | NGET | West Midlands | Wider |  | New onshore circuit | New double circuit within West Midlands | 2037 |  |  | SHNC |  | Stop |  |  | Known
B2030-WKDC | New offshore HVDC link between Yorkshire and South East of England | Beyond 2030 – Additional | NGET | East Midlands | Wider |  | New offshore circuit | New offshore HVDC link between Yorkshire and South East of England | 2040 |  |  | WKDC |  | Stop |  |  | Known
B2030-NHDC | New ultra high voltage direct current (UHVDC) network between North East England and Hertfordshire | Beyond 2030 – Additional | NGET | North East and Yorkshire | Wider |  | New onshore circuit | New ultra high voltage direct current (UHVDC) network between North East England and Hertfordshire | 2043 |  |  | NHDC |  | Stop |  |  | Known
B2030-NWDC | New ultra high voltage direct current (UHVDC) network between North West England and Buckinghamshire | Beyond 2030 – Additional | NGET | North West | Wider |  | New onshore circuit | New ultra high voltage direct current (UHVDC) network between North West England and Buckinghamshire | 2041 |  |  | NWDC |  | Stop |  |  | Known
B2030-NWD1 | New ultra high voltage direct current (UHVDC) network partly utilising AC route between North West England and Buckinghamshire | Beyond 2030 – Additional | NGET | North West | Wider |  | New onshore circuit | New ultra high voltage direct current (UHVDC) network partly utilising AC route between North West England and Buckinghamshire | 2041 |  |  | NWD1 |  | Stop |  |  | Known
B2030-NEUP | North East ring 275kV to 400kV upgrade | Beyond 2030 – Additional | NGET | North East and Yorkshire | Wider |  | Existing network upgrade | North East ring 275kV to 400kV upgrade | 2038 |  |  | NEUP |  | Stop |  |  | Known
B2030-DCR4 | Reconductor Carrington to Daines 400kV single circuit | Beyond 2030 – Additional | NGET | North West | Wider |  | Existing network upgrade | Reconductor Carrington to Daines 400kV single circuit | 2031 |  |  | DCR4 |  | Stop |  |  | Known
B2030-CDRE | Reconductor Cellarhead to Drakelow 400kV double circuit | Beyond 2030 – Additional | NGET | West Midlands | Wider |  | Existing network upgrade | Reconductor Cellarhead to Drakelow 400kV double circuit | 2032 |  |  | CDRE |  | Stop |  |  | Known
B2030-SCR1 | Reconductor Cottam to Staythorpe 1 400kV circuit | Beyond 2030 – Additional | NGET | East Midlands | Wider |  | Existing network upgrade | Reconductor Cottam to Staythorpe 1 400kV circuit | 2031 |  |  | SCR1 |  | Stop |  |  | Known
B2030-FSRE | Reconductor Feckenham to Seven Springs 1 400kV circuit | Beyond 2030 – Additional | NGET | West Midlands | Wider |  | Existing network upgrade | Reconductor Feckenham to Seven Springs 1 400kV circuit | 2031 |  |  | FSRE |  | Stop |  |  | Known
B2030-HNRE | Reconductor Hawthorn Pit to Norton 400kV circuit | Beyond 2030 – Additional | NGET | North East and Yorkshire | Wider |  | Existing network upgrade | Reconductor Hawthorn Pit to Norton 400kV circuit | 2030 |  |  | HNRE |  | Stop |  |  | Known
B2030-SMRE | Reconductor Minety to Severn Springs 1 400kV circuit | Beyond 2030 – Additional | NGET | South West | Wider |  | Existing network upgrade | Reconductor Minety to Severn Springs 1 400kV circuit | 2031 |  |  | SMRE |  | Stop |  |  | Known
B2030-LTRE | Reconductor and tower reinforcement on Lackenby to Thornton 400kV double circuit route | Beyond 2030 – Additional | NGET | North East and Yorkshire | Wider |  | Existing network upgrade | Reconductor and tower reinforcement on Lackenby to Thornton 400kV double circuit route | 2034 |  |  | LTRE |  | Stop |  |  | Known
B2030-PCR2 | Reconductor and tower replacement on Carrington to Penwortham and Padiham to Penwortham 400kV circuits | Beyond 2030 – Additional | NGET | North West | Wider |  | Existing network upgrade | Reconductor and tower replacement on Carrington to Penwortham and Padiham to Penwortham 400kV circuits | 2037 |  |  | PCR2 |  | Stop |  |  | Known
B2030-NOR6 | Reconductor and tower replacement on Norton to Osbaldwick 400kV double circuit route | Beyond 2030 – Additional | NGET | North East and Yorkshire | Wider |  | Existing network upgrade | Reconductor and tower replacement on Norton to Osbaldwick 400kV double circuit route | 2035 |  |  | NOR6 |  | Stop |  |  | Known
B2030-TMC3 | Reconductor and tower replacement on Thorpe Marsh leg of Drax to Keadby to Thorpe Marsh 400kV circuit and Keadby 400kV substation running arrangement update | Beyond 2030 – Additional | NGET | North East and Yorkshire | Wider |  | Existing network upgrade | Reconductor and tower replacement on Thorpe Marsh leg of Drax to Keadby to Thorpe Marsh 400kV circuit and Keadby 400kV substation running arrangement update | 2035 |  |  | TMC3 |  | Stop |  |  | Known
B2030-MSRE | Reconductoring Macclesfield to Stalybridge 400kV circuit route | Beyond 2030 – Additional | NGET | North West | Wider |  | Existing network upgrade | Reconductoring Macclesfield to Stalybridge 400kV circuit route | 2031 |  |  | MSRE |  | Stop |  |  | Known
B2030-CMCF | Reconductoring and reconfiguration of 400kV circuits bwtween Cellarhead, Dains and Macclesfield substations | Beyond 2030 – Additional | NGET | North West | Wider |  | Existing network upgrade | Reconductoring and reconfiguration of 400kV circuits bwtween Cellarhead, Dains and Macclesfield substations | 2037 |  |  | CMCF |  | Stop |  |  | Known
B2030-SRRE | Reconductoring the Ratcliffe On Soar to Staythorpe 400kV circuit | Beyond 2030 – Additional | NGET | East Midlands | Wider |  | Existing network upgrade | Reconductoring the Ratcliffe On Soar to Staythorpe 400kV circuit | 2031 |  |  | SRRE |  | Stop |  |  | Known
B2030-NES2 | Series compensation strategy 2 across the North of England transmission network | Beyond 2030 – Additional | NGET | North West | Wider |  | Existing network upgrade | Series compensation strategy 2 across the North of England transmission network | 2034 |  |  | NES2 |  | Stop |  |  | Known
B2030-WLU1 | West London network upgrade and reconfiguration strategy 1 | Beyond 2030 – Additional | NGET | Greater London | Wider |  | New infrastructure | West London network upgrade and reconfiguration strategy 1 | 2039 |  |  | WLU1 |  | Stop |  |  | Known
B2030-WLU2 | West London network upgrade and reconfiguration strategy 2 | Beyond 2030 – Additional | NGET | Greater London | Wider |  | New onshore circuit | West London network upgrade and reconfiguration strategy 2 | 2039 |  |  | WLU2 |  | Stop |  |  | Known
B2030-WMU1 | West Midlands network upgrade and reconfiguration strategy 1 | Beyond 2030 – Additional | NGET | West Midlands | Wider |  | Existing network upgrade | West Midlands network upgrade and reconfiguration strategy 1 | 2039 |  |  | WMU1 |  | Stop |  |  | Known
B2030-WMU2 | West Midlands network upgrade and reconfiguration strategy 2 | Beyond 2030 – Additional | NGET | West Midlands | Wider |  | Existing network upgrade | West Midlands network upgrade and reconfiguration strategy 2 | 2035 |  |  | WMU2 |  | Stop |  |  | Known
B2030-WYU1 | West Yorkshire network upgrade and reconfiguration strategy 1 | Beyond 2030 – Additional | NGET | North East and Yorkshire | Wider |  | Existing network upgrade | West Yorkshire network upgrade and reconfiguration strategy 1 | 2038 |  |  | WYU1 |  | Stop |  |  | Known
B2030-WYU2 | West Yorkshire network upgrade and reconfiguration strategy 2 | Beyond 2030 – Additional | NGET | North East and Yorkshire | Wider |  | Existing network upgrade | West Yorkshire network upgrade and reconfiguration strategy 2 | 2037 |  |  | WYU2 |  | Stop |  |  | Known
B2030-CMN3 | New double circuit from the South East of Scotland to the North West of England (Substation located South of Carlisle) | Beyond 2030 – Additional | NGET, SPT | Scotland | Wider |  | New onshore circuit | New double circuit from the South East of Scotland to the North West of England (Substation located South of Carlisle) | 2034 |  |  | CMN3 |  | Alternative |  |  | Known
B2030-WCD8 | New offshore HVDC link between Western Isles and North West England | Beyond 2030 – Additional | NGET, SSENT | Scotland | Wider |  | New offshore circuit | New offshore HVDC link between Western Isles and North West England | 2039 |  |  | WCD8 |  | Stop |  |  | Known
B2030-EGL8 | New offshore HVDC link between North East Scotland and North East England | Beyond 2030 – Additional | NGET, SSENT | Scotland; North East and Yorkshire | Wider |  | New offshore circuit | New offshore HVDC link between North East Scotland and North East England | 2040 |  |  | EGL8 |  | Stop |  |  | Known
B2030-WCD7 | New offshore HVDC link between Western Isles and North West England | Beyond 2030 – Additional | NGET, SSENT | Scotland | Wider |  | New offshore circuit | New offshore HVDC link between Western Isles and North West England | 2040 |  |  | WCD7 |  | Stop |  |  | Known
B2030-DBHW | Re-profile existing circuits between Dounreay, Loch Buidhe, and Beauly | Beyond 2030 – Additional | SSENT | Scotland | Wider |  | Existing network upgrade | Re-profile existing circuits between Dounreay, Loch Buidhe, and Beauly | 2033 |  |  | DBHW |  | Stop |  |  | Known
B2030-WENC | Combination of new and replacement 400kV double circuit from north west Scotland to central belt Scotland via north east Scotland | Beyond 2030 – Additional | SSENT, SPT | Scotland | Wider |  | New onshore circuit | Combination of new and replacement 400kV double circuit from north west Scotland to central belt Scotland via north east Scotland | 2040 |  |  | WENC |  | Stop |  |  | Known
B2030-BHN1 | New 400kV double circuit from north west Scotland to central belt Scotland | Beyond 2030 – Additional | SSENT, SPT | Scotland | Wider |  | New onshore circuit | New 400kV double circuit from north west Scotland to central belt Scotland | 2038 |  |  | BHN1 |  | Stop |  |  | Known

## Summary
Source | Projects | With_CATO_Status | With_MW | Default toggle
Beyond 2030 – Selected | 43 | 0 | 0 | ON
TWR | 21 | 21 | 20 | ON
Beyond 2030 – Additional | 59 | 0 | 0 | OFF

## Methodology
Item | Definition
Beyond 2030 – Selected | Beyond 2030 options currently recommended as Proceed or Hold.
TWR | Connection-driven transmission investment packages derived from the TWR CATO screening.
Beyond 2030 – Additional | Beyond 2030 options outside the current Selected bucket; retained as the wider strategic option universe.
Overlap handling | TWR packages remain a separate source even where they relate to a Beyond 2030 option; the crosswalk is retained for audit rather than used to remove records.
CATO status | CATO opportunity fields are screening fields, not a determination of CATO eligibility.

## TWR_B2030_Crosswalk
Proposed project package | CATO assessment | TEC contracted MW | TEC projects | Beyond 2030 crosswalk status | Potential Beyond 2030 code(s) | Crosswalk rationale | Recommended treatment
021071-021073 | Potential CATO - evidence required | 900 | 2 | No direct duplicate identified | No clear match | King’s Lynn B 400kV loop is not a named Beyond 2030 project in the 2026 list. | Retain as additional candidate; continue maturity/commitment validation.
100944-201882 | Potential CATO - evidence required | 1737.5 | 2 | No direct duplicate identified | LRN7 contextual only | Mablethorpe 400kV substation is in the Lincolnshire area, but Beyond 2030 LRN7 describes a different South Lincolnshire–East Leicestershire corridor and two new substations. No direct match identified. | Retain as additional candidate; continue maturity/commitment validation.
101093-202181 | Strong CATO potential | 775 | 2 | No direct duplicate identified | No clear match | Creyke Beck–High Marnham 400kV double circuit is not named in the Beyond 2030 list reviewed; geographic/project-name match is absent. | Retain as additional candidate; continue maturity/commitment validation.
101333-202653 | Strong CATO potential | 695 | 3 | No direct duplicate identified | No clear match | Norton East 400kV substation is not named in the Beyond 2030 list reviewed. | Retain as additional candidate; continue maturity/commitment validation.
101387-202717 | Potential CATO - evidence required | 1580 | 4 | No direct duplicate identified | ATRE / TMCF contextual only | Large Alverdiscott/Pembroke/Nursling/Taunton substation reconfigurations are not the same scope as Beyond 2030 ATRE or TMCF based on the published descriptions. | Retain as additional candidate; continue maturity/commitment validation.
101388-202719 | Potential CATO - evidence required | 8116 | 8 | No direct duplicate identified | ATRE / TMCF contextual only | Large Alverdiscott/Pembroke/Nursling/Taunton substation reconfigurations are not the same scope as Beyond 2030 ATRE or TMCF based on the published descriptions. | Retain as additional candidate; continue maturity/commitment validation.
101719-203428 | Potential CATO - evidence required | 680 | 2 | Likely duplicate / embedded in Beyond 2030 | NOR7 (also NOR6 historical alternative) | TWR scope is the Norton leg of the new Norton–Osbaldwick/Poppleton 400kV circuits. Beyond 2030 NOR7 is the recommended reconductoring of the Norton–Osbaldwick 400kV double circuit. | Remove from standalone CATO opportunity universe unless project evidence demonstrates a distinct additional asset beyond NOR7.
101883-203859 | Potential CATO - evidence required | 1200 | 3 | No direct duplicate identified | No clear match | Coryton South–Rayleigh Main 400kV cable uprating does not match a named Beyond 2030 project in the published 2026 list. | Retain as additional candidate; continue maturity/commitment validation.
102080-204268 | Potential CATO - evidence required | 2265 | 3 | No direct duplicate identified | No clear match | Overton 275kV replant is not explicitly represented by a matching Beyond 2030 project description. | Retain as additional candidate; continue maturity/commitment validation.
102675-205361 | Potential CATO - evidence required |  | 0 | No direct duplicate identified | No clear match | New 400kV double-busbar substation has no current TEC match and no clear Beyond 2030 description match; strategic linkage remains to be established. | Retain as additional candidate; continue maturity/commitment validation.
Fort Augustus / Harburn 400kV reinforcement package | Strong CATO potential | 1987.9 | 4 | Potentially related / needs reconciliation | LCU2; HGNC | Beyond 2030 contains Kincardine North–Harburn–Currie (LCU2) and Harburn–Gala North (HGNC). The TWR package introduces a new Harburn 400kV substation and reinforcement associated with the Fort Augustus/B4 development. Physical interfaces may overlap with, or be enabled by, these strategic options. | Do not count as additional until TWR scope is reconciled against LCU2/HGNC project boundaries.
Fort Augustus 2 / Beauly 400kV reinforcement package | Strong CATO potential | 1594 | 2 | Potentially related / needs reconciliation | NHNC / DBRE/DBHW contextual only | Beyond 2030 contains major North East Scotland/central-belt options, but no explicit Fort Augustus 2 / Beauly project match. Treat as related system-development context, not a confirmed duplicate. | Retain provisionally; confirm whether this TWR package is already incorporated into a Beyond 2030 strategic option.
Mid Wales 400kV reinforcement package | Potential CATO - evidence required | 312 | 2 | No direct duplicate identified | No clear match | Mid Wales Connection Node A / Nant Y Maen package is not named in the Beyond 2030 list reviewed. | Retain as additional candidate; continue maturity/commitment validation.
shet-ri-147 | Strong CATO potential | 1500 | 1 | No direct duplicate identified | No clear match | Tealing 400kV substation is not named in the Beyond 2030 list reviewed. | Retain as additional candidate; continue maturity/commitment validation.
shet-ri-180 | Strong CATO potential | 1710 | 4 | No direct duplicate identified | No clear match | Peterhead second 400kV busbar/substation is not named in the Beyond 2030 list reviewed. | Retain as additional candidate; continue maturity/commitment validation.
shet-ri-185 | Strong CATO potential | 1100.29 | 2 | No direct duplicate identified | NHNC contextual only | Kintore–Tealing 400kV OHL is a major East Coast Scotland reinforcement. Beyond 2030 NHNC is a different North East Scotland–central belt corridor description; no direct route match identified. | Retain as additional candidate; continue maturity/commitment validation.
shet-ri-205 | Strong CATO potential | 149.9 | 3 | No direct duplicate identified | No clear match | Brechin 275kV substation is not named in the Beyond 2030 list reviewed. | Retain as additional candidate; continue maturity/commitment validation.
spt-ri-1795 | Strong CATO potential | 2820 | 2 | No direct duplicate identified | CMN4 contextual only | New 400kV double circuit across the Scotland–England boundary is physically similar to CMN4, but the TWR route/locations are not sufficient to call it the same project. | Retain as additional candidate; continue maturity/commitment validation.
spt-ri-2862 ss | Potential CATO - evidence required | 578 | 5 | No direct duplicate identified | No clear match | Dumfries North 400/132kV substation is not named in the Beyond 2030 list reviewed. | Retain as additional candidate; continue maturity/commitment validation.
spt-ri-304 | Strong CATO potential | 1500 | 1 | No direct duplicate identified | LTR1 contextual only | East Coast B6 Branxton–Lackenby is a new ~185km 400kV circuit. LTR1 is a Lackenby–Thornton reconductoring intervention; adjacent system geography does not establish duplication. | Retain as additional candidate; continue maturity/commitment validation.
spt-ri-3452 - mark hill north - new cumnock north 400kv circuit | Potential CATO - evidence required | 99 | 1 | No direct duplicate identified | No clear match | Mark Hill North–New Cumnock North 400kV circuit is not named in the Beyond 2030 list reviewed. | Retain as additional candidate; continue maturity/commitment validation.